U.S. CUSTOMS AND BORDER PROTECTION

LABORATORY METHODS

CBPL METHOD 32-16

CBPL 72-32

Guidelines for Elemental Qualitative

Analysis by X-ray Fluorescence

# SAFETY STATEMENT

This CBPL Method cannot fully address safety issues that may arise from its use.  The analyst is responsible for assessing potential safety issues associated with a given method at its point of use.

Before using this method, the analyst will consider all general laboratory safety precautions.  In particular, the analyst will identify and implement suitable health and safety measures and will comply with all pertinent regulations.

METHOD UNCERTAINTY

The uncertainty of measurement for this method is specific to each laboratory.

0.		SCOPE AND FIELD OF 					APPLICATION

This method describes the use of Wavelength Dispersive X-ray Fluorescence (WDXRF), Energy Dispersive X-ray Fluorescence (EDXRF) and Scanning Electron Microscope/ Energy Dispersive Spectrometer (SEM/EDS) systems for elemental qualitative analysis of various materials in different forms (solid, liquid, and powder).  This is among the recommended methods that will prove useful in the analysis of commodities in Chapter 32 of the Harmonized Tariff Schedule of the United States (HTSUS) to establish identity based on elemental composition.

1.		REFERENCE

1.1		CBPL Method 72-32  “Guidelines for Elemental Qualitative Analysis by X-ray Fluorescence.”

END