U.S. CUSTOMS AND BORDER PROTECTION

LABORATORY METHODS

CBPL METHOD 33-01

USP/NF <841>

Specific Gravity

SAFETY STATEMENT

This CBPL Method cannot fully address safety issues that may arise from its use.  The analyst is responsible for assessing potential safety issues associated with a given method at its point of use.

Before using this method, the analyst will consider all general laboratory safety precautions.  In particular, the analyst will identify and implement suitable health and safety measures and will comply with all pertinent regulations.

METHOD UNCERTAINTY

The uncertainty of measurement for this method is specific to each laboratory.

0.		SCOPE AND FIELD OF 					APPLICATION

0.1		Unless otherwise stated in the individual monograph, the specific gravity determination is only applicable to liquids, and unless otherwise stated, is based on the ratio of the weight of a substance in air at 25 degrees to that of an equal volume of water at the same temperature.

0.1.1	Where a temperature is specified in the individual monograph, the specific gravity is the ratio of the weight of the substance in air at the specified temperature to that of an equal volume of water at the same temperature.

1.2		This method is used as a distinguishing factor between the commodities covered under Chapter 33 of the Harmonized Tariff Schedule of the United States (HTSUS).

1.		REFERENCE

1.1		USP/NF <841>.  “Specific Gravity.”

END