U.S. CUSTOMS AND BORDER PROTECTION

LABORATORY METHODS

CBPL METHOD 33-02

AOAC 920.212

Specific Gravity (Apparent) of Oils

Pycnometer Method

SAFETY STATEMENT

This CBPL Method cannot fully address safety issues that may arise from its use.  The analyst is responsible for assessing potential safety issues associated with a given method at its point of use.

Before using this method, the analyst will consider all general laboratory safety precautions.  In particular, the analyst will identify and implement suitable health and safety measures and will comply with all pertinent regulations.

METHOD UNCERTAINTY

The uncertainty of measurement for this method is specific to each laboratory.

0.		SCOPE AND FIELD OF 					APPLICATION

0.1		This method employs the use of a pycnometer to measure the specific gravity (apparent) of oils at 25 degrees.

0.2		Specific gravity is used as a distinguishing factor between the essential oils covered under Subheading 3301 of the Harmonized Tariff Schedule of the United States (HTSUS).

1.		REFERENCE

1.1		AOAC 920.212.  “Specific Gravity (Apparent) of Oils:  Pycnometer Method.”

END