U.S. CUSTOMS AND BORDER PROTECTION

LABORATORY METHODS

CBPL METHOD 34-01

NHM

ASTM D 1331

Standard Test Methods for Surface and

Interfacial Tension of Solutions of Surface-Active Agents

SAFETY STATEMENT

This CBPL Method cannot fully address safety issues that may arise from its use.  The analyst is responsible for assessing potential safety issues associated with a given method at its point of use.

Before using this method, the analyst will consider all general laboratory safety precautions.  In particular, the analyst will identify and implement suitable health and safety measures and will comply with all pertinent regulations.

METHOD UNCERTAINTY

The uncertainty of measurement for this method is specific to each laboratory.

0.		SCOPE AND FIELD OF 					APPLICATION

This method covers the determination of surface tension and interfacial tension of solutions of surface-active agents using either the du Nouy precision tensiometer or the du Nouy interfacial tensiometer.

The surface-active agent method is applicable to aqueous, nonaqueous, and mixed solvent solutions of surface-active agents. The interfacial tension method is applicable to two-phase solutions. More than one solute component may be present, including solute components that are not in themselves surface-active.

These methods are specifically applicable to commodities provided for in Chapter 34, Heading 3402, of the Harmonized Tariff Schedule of the United States (HTSUS).

1.		REFERENCE

1.1		ASTM D 1331.  “Standard Test Methods for Surface and Interfacial Tension of Solutions of Surface-Active Agents.”

END