U.S. CUSTOMS AND BORDER PROTECTION

LABORATORY METHODS

CBPL METHOD 34-02

ASTM D 2357

Standard for Qualitative Classification of

Surfactants by Infrared Absorption

SAFETY STATEMENT

This CBPL Method cannot fully address safety issues that may arise from its use.  The analyst is responsible for assessing potential safety issues associated with a given method at its point of use.

Before using this method, the analyst will consider all general laboratory safety precautions.  In particular, the analyst will identify and implement suitable health and safety measures and will comply with all pertinent regulations.

METHOD UNCERTAINTY

The uncertainty of measurement for this method is specific to each laboratory.

0.		SCOPE AND FIELD OF 					APPLICATION

This standard covers the qualitative classification of synthetic detergent products or mixtures of synthetic detergents.  It is applicable to built detergent formulations as well as individual surfactant compositions.

Qualitative identification of surfactant type is based on the presence of infrared absorption bands attributable to specific functional groups.  This method includes a listing of absorption bands corresponding to characteristic functional groups of some of the common types of surfactants.

This method is applicable to soaps and organic surface-active products and preparations provided for in Chapter 34 of the Harmonized Tariff Schedule of the United States (HTSUS).

1.		REFERENCE

1.1		ASTM D 2357.  “Standard for Qualitative Classification of Surfactants by Infrared Absorption.”

END