U.S. CUSTOMS AND BORDER PROTECTION

LABORATORY METHODS

CBPL METHOD 34-04

NHM

ASTM D 2669

Standard Test Method for Apparent Viscosity of

Petroleum Waxes Compounded with Additives (Hot Melts)

SAFETY STATEMENT

This CBPL Method cannot fully address safety issues that may arise from its use.  The analyst is responsible for assessing potential safety issues associated with a given method at its point of use.

Before using this method, the analyst will consider all general laboratory safety precautions.  In particular, the analyst will identify and implement suitable health and safety measures and will comply with all pertinent regulations.

METHOD UNCERTAINTY

The uncertainty of measurement for this method is specific to each laboratory.

0.		SCOPE AND FIELD OF 					APPLICATION

This method covers the determination of the apparent viscosity of petroleum waxes compounded with additives (hot melts), using a Brookfield Synchro-Lectric Viscometer.  It applies to fluid hot melts having apparent viscosities up to 20 Pas at temperatures up to 175 ºC (347 ºF).

This test distinguishes between hot melts of different apparent viscosities, and is applicable to commodities falling within the purview of Chapter 34, Heading 3404, of the Harmonized Tariff Schedule of the United States (HTSUS).

1.		REFERENCE

1.1		ASTM D 2669.  “Standard Test Method for Apparent Viscosity of Petroleum Waxes Compounded with Additives (Hot Melts).”

END