U.S. CUSTOMS AND BORDER PROTECTION

LABORATORY METHODS

CBPL METHOD 34-05

NHM

ASTM D 3954

Standard Test Method for Dropping Point of Waxes

SAFETY STATEMENT

This CBPL Method cannot fully address safety issues that may arise from its use.  The analyst is responsible for assessing potential safety issues associated with a given method at its point of use.

Before using this method, the analyst will consider all general laboratory safety precautions.  In particular, the analyst will identify and implement suitable health and safety measures and will comply with all pertinent regulations.

METHOD UNCERTAINTY

The uncertainty of measurement for this method is specific to each laboratory.

0.		SCOPE AND FIELD OF 					APPLICATION

This method is applicable to commodities having waxy characteristics falling within the purview of Chapter 34, Heading 3404, of the Harmonized Tariff Schedule of the United States (HTSUS).

The method covers the determination of the ASTM dropping point for waxes using an appropriate dropping point apparatus.  It is useful in determining the consistency of waxes, and is suitable for all types of waxes including, but not limited to, paraffin, microcrystalline, polyethylene, and natural waxes.

1.		REFERENCE

1.1		ASTM D 3954.  “Standard Test Method for Dropping Point of Waxes.”

END