U.S. CUSTOMS AND BORDER PROTECTION

LABORATORY METHODS

CBPL METHOD 34-06

ASTM D 2358

Standard Test Method for Separation of Active

# Ingredient from Surfactant and Syndet Compositions

SAFETY STATEMENT

This CBPL Method cannot fully address safety issues that may arise from its use.  The analyst is responsible for assessing potential safety issues associated with a given method at its point of use.

Before using this method, the analyst will consider all general laboratory safety precautions.  In particular, the analyst will identify and implement suitable health and safety measures and will comply with all pertinent regulations.

METHOD UNCERTAINTY

The uncertainty of measurement for this method is specific to each laboratory.

0.		SCOPE AND FIELD OF 					APPLICATION

This method is applicable to organic surface-active products and preparations described in Chapter 34 of the Harmonized Tariff Schedule of the United States (HTSUS).

The method covers the procedure for the separation and purification of the active ingredients from surfactant and synthetic detergent (Syndet) compositions.  The separated active ingredients may be used for qualitative examinations.  This method also permits the estimation of the total active ingredient level present in the sample.

The method involves the extraction of the active ingredient with alcohol.  Reprecipitation of the insolubles is specified to remove the last traces of active ingredient.  Dilution of the alcoholic extract to a known volume and the evaporation of a suitable aliquot permit measurement of total matter.

1.		REFERENCE

1.1		ASTM D 2358.  “Standard Test Method for Separation of Active Ingredient from Surfactant and Syndet Compositions.”

END