U.S. CUSTOMS AND BORDER PROTECTION

LABORATORY METHODS

CBPL METHOD 34-08

Quantitative Analysis of Paraffin in Beeswax

By Column Chromatography

SAFETY STATEMENT

This CBPL Method cannot fully address safety issues that may arise from its use.  The analyst is responsible for assessing potential safety issues associated with a given method at its point of use.

Before using this method, the analyst will consider all general laboratory safety precautions.  In particular, the analyst will identify and implement suitable health and safety measures and will comply with all pertinent regulations.

## METHOD UNCERTAINTY

The uncertainty of measurement for this method is specific to each laboratory.

0.		INTRODUCTION

This method provides for the quantitative measurement of paraffin-type hydrocarbons in beeswax and beeswax-paraffin mixtures by column chromatography and subsequent determination of the amount of paraffin added to beeswax.  The method consists of three procedures.  First, the presence of paraffin-type hydrocarbons in a sample is identified by a qualitative screening analysis using either gas chromatography (GC) or gas chromatography/mass spectrometry (GC/MS). Second, for samples determined to contain paraffin-type hydrocarbons, the paraffin-type hydrocarbons are separated quantitatively by column (liquid-solid) chromatography.  The percent weight of paraffin-type hydrocarbons in the sample is determined gravimetrically from the weight of solid percolate obtained from the eluent of the column.  Third, the solid percolate collected in the quantitative analysis is screened by GC, GC/MS, or Fourier transform infrared spectroscopy (FTIR) to verify that the percolate consists solely of paraffin-type hydrocarbons.

1.		SCOPE AND FIELD OF 					APPLICATION

This method applies to beeswax, in the form of candles or in other forms, containing added paraffin.  Specifically, the method has been formulated for quantitative measurement of paraffin-type hydrocarbons in candles composed of beeswax to which has been added an unknown quantity of paraffin.  The method may be extended to quantitative analysis of paraffin-type hydrocarbons in other wax mixtures containing only two wax components, one of which is paraffin.  The method is applicable to certain commodities provided for in Chapter 34 of the Harmonized Tariff Schedule of the United States (HTSUS).

The absolute accuracy of this method is dependent upon the reference standards selected, of which the best standards are the exact beeswax and paraffin used to manufacture the sample.  If these materials are not available, the best obtainable reference standards must be used.

2.		REFERENCE

2.1		ASTM D 1342.  “Standard Test Method for Paraffin-Type Hydrocarbons in Carnauba Wax.”

3.		DEFINITION OF TERMS

3.1		Beeswax.  Beeswax is the wax of bees in the genus Apis, including the European bee A. mellifera, and the Asiatic species A. dorsata, A. florea, and A. indica.

Although the composition can vary in detail, beeswax primarily is composed of free wax acids and the esters of wax acids, with a lesser quantity of hydrocarbons.  Typically, the hydrocarbon portion of beeswax consists of the odd chain length n-alkanes from C23H48 through C35H72, with a small amount of even chain length n-alkanes and alkenes.

3.2		Paraffin.  Paraffin is the hydrocarbon waxy portion of a petroleum crude oil that covers the n-alkane range from approximately C20H42 through C39H80.

Typically, paraffin consists of a distribution of n-alkanes following the generic formula CnH2n+2 (n is an integer), with smaller amounts of isoalkanes and cycloalkanes.

3.3		Paraffin-type Hydrocarbon.  Paraffin-type hydrocarbon is the hydrocarbon waxy portion of a wax or wax mixture that covers the n-alkane range from C20H42 through C39H80.

3.4		Column.  For the quantitative measurement of paraffin-type hydrocarbons (5.2), the column is defined to be the 250 mL cylindrical separatory funnel packed with activated alumina.

3.5		Eluent.  Eluent is the liquid mobile phase containing solvent plus dissolved sample collected from the end of the column.

3.6		Solid Percolate or Percolate.  Solid percolate is the waxy residue remaining after evaporation of the solvent from the eluent collected from the column.

4.		REAGENTS AND APPARATUS

Unless otherwise stated, all reagents are of analytical grade or better.  All components of the apparatus are to be of condition equivalent to the stated condition or better, or having a sensitivity, precision and accuracy equivalent to or better than the stated components.  Appropriate substitutions may be made provided these criteria are met.

4.1		Reagents and Apparatus for Column Chromatography.

4.1.1	n-Heptane, 98.0% minimum by GC.

4.1.2	Activated Alumina (Al2O3), neutral or acidic, grade Brockmann activity I or II, or equivalent, Supelco numbers 19,997-4 and 19,996-6, respectively.  Alumina should be stored at 100-110oC to maintain activity grade.

4.1.3	Refined Yellow Beeswax, m.p. 62-65oC, CAS No. 8012-89-3, Aldrich Chemical Co. #24,324-8.

4.1.4	Paraffin Wax, m.p. 52-58oC, CAS No. 8002-74-2, Aldrich Chemical Co. #31,765-9.

4.1.5	Cylindrical Separatory Funnel, 250 mL capacity, graduated, PTFE stopcock, VWR Scientific Products #30362-328.

4.1.6	Analytical Balance.  Sensitivity of 0.1 mg is required for weighing solid percolate recovered from the eluent.

4.1.7	Drying Oven, capable of maintaining 100 +/- 5oC temperature.

4.1.8	Hot Plate.

4.1.9	Vibrating Mixer (Touch Mixer), Fisher Scientific.

4.1.10	Thermometer, 0-100oC.

4.1.11	For dissolving wax and evaporating solvent in ASTM D 1342: tall-form glass beakers, 600 mL to 1 L volume; glass beakers, 50 mL and 200 mL.

4.1.12	For melting wax samples to homogenize: glass jars, 100 mL to 250 mL or larger, and disposable aluminum pans, 100 mL to 200 mL or larger.

4.2		Reagents and Apparatus for Gas Chromatography or Gas Chromatography/ Mass Spectrometry

4.2.1	Chloroform, 99.8+% minimum by GC.

4.2.2	Glass bottles, 4 oz., for storage of dissolved wax solutions (100 mL).

4.2.3	HP Model 5890 gas chromatograph (GC), equipped with either a flame ionization detector (FID) or a HP Model 5970 mass selective detector (MSD), or the equivalent or better.

4.2.4	Helium carrier gas (99.999%); hydrogen and compressed air detector gases for GC-FID.

4.2.5	25 meter HP-1 (crosslinked methyl siloxane) or HP-5 poly(5% diphenyl - 95% dimethylsiloxane) fused silica capillary column, 0.2 mm i.d., 0.33 micron film thickness for GC/MS, or the equivalent or better.  A capillary column suitable for use at temperatures greater than 320oC may be substituted, such as aluminum or polyimide clad 12 m or 25 m SGE HT-5 (5% phenyl siloxane-carborane) or equivalent.

5.		SAMPLE PREPARATION

Unless specified otherwise, wax from the sample candle, or other article or form, and reference beeswax and paraffin are to be prepared in the same manner.

5.1		Homogenization of Sample and Reference Materials.  The sample wax or reference beeswax or paraffin may not be homogeneous in composition.  To ensure a homogeneous composition is obtained, two approaches are recommended.  In the first approach, the entire wax sample is melted to homogenize.  In the second approach, approximately 20 to 40 g of wax is taken from several locations (top, bottom, interior) and melted.  The choice of approach may depend on the size of the sample.

Melting is accomplished in a glass jar or beaker of appropriate size (twice the volume of the solid material) in an oven or water bath at approximately 90oC.  The melt is swirled or stirred and poured into a preheated (90oC) aluminum pan (100 to 200 mL size for 20 to 40 g wax) and allowed to cool.  A larger pan may be needed depending on the amount of sample or reference melted.

5.2		Preparation for Qualitative Screening Analysis by GC or GC/MS.  Dissolve 1 g of the homogenized solid wax from the sample or reference from 5.1 in 30 to 50 mL warm chloroform or equivalent solvent in a 100 mL volumetric flask.  After cooling, dilute to 100 mL and store in a 4 oz. glass bottle, or equivalent.

5.3		Preparation for Quantitative Analysis by Column Chromatography.  Unless noted in this section, sample preparation follows the procedure specified in ASTM D 1342 without modification.

Dissolve 2.0 g of the homogenized solid wax from the sample or reference from 5.1, weighed to the nearest 0.01 g, in approximately 300 mL of boiling heptane in a 600 mL or 1 L tall-form beaker.  The solution is maintained near the boiling point of heptane while it is added to the column in 6.2.3.

6.		PROCEDURE

Three procedures are specified.  First, the presence of paraffin-type hydrocarbons is identified by a qualitative screening analysis using either GC or GC/MS.  Second, the paraffin-type hydrocarbons are separated quantitatively by column chromatography and the weight recorded.  Third, the solid percolate collected in the quantitative analysis is screened by GC, GC/MS, or FTIR to verify the presence of only paraffin-type hydrocarbons.

6.1		Qualitative Screening Analysis by GC or GC/MS.

6.1.1	A solvent blank (1 microliter chloroform) is injected prior to the sample or reference, under the conditions specified in 6.1.3.

6.1.2	If undissolved wax solids are present, it may be necessary to warm the bottle containing the sample or reference prior to injection.  The glass bottle is warmed with a heat gun, or an aliquot placed in a sealed glass vial and held in a heating block.  All of the wax solids should be dissolved and a clear (colored or colorless) solution obtained prior to injection.

6.1.3	1 microliter of the dissolved wax solution (sample or reference) is injected into the GC.  The operating parameters of the GC and detector are those that are required to provide adequate resolution for determining the presence of paraffin-type hydrocarbons in the sample. These parameters are dependent on the specific capillary column and detector employed.  For the HP-1or HP-5 column specified in 4.2.5 and a MSD detector, the following conditions are adequate:

Detector Temperature: 300oC

Injector Temperature: 290oC

Column Temperature:

hold 3 min at 100oC,

heat at 25oC/min to 200oC,

heat at 10oC/min to 320oC,

hold 20 min at 320oC.

Solvent Delay: 3 min

Injection: split or splitless

MSD: scan 40-600 m/z

6.1.4	A solvent blank (1 microliter chloroform) is injected after the sample or reference, under the conditions specified in 6.1.3.

6.1.5	The presence of paraffin-type hydrocarbons in the sample is identified by comparison of the chromatograms (GC) or total ion chromatograms (GC/MS) obtained for the sample and reference beeswax and paraffin.

6.2		Quantitative Analysis by Column Chromatography.  Unless noted in this section, quantitative analysis follows the procedure specified in ASTM D 1342 without modification.

The procedure utilizes a large volume of heptane, a flammable solvent, maintained at temperature close to the boiling point.  Caution should be exercised in handling this solvent.

6.2.1	To assist the even packing of the alumina, the stem of the cylindrical separatory funnel is placed on a vibrating mixer for approximately 30 to 60 sec after tapping the side of the funnel sharply several times with the palm of the hand.

6.2.2	The column is warmed with sufficient volume of heptane at its boiling point such that the temperature of the eluent issuing from the funnel stem is at 50 to 55oC prior to addition of sample or reference solutions.  The column should be tapped again as it is warmed.

6.2.3	The sample or reference prepared from 5.3 is introduced to the column by pouring as specified in ASTM D 1342.

6.2.4	After the last of the sample or reference solution has been added to the column, rinse the tall-form beaker with at least three (3) successive 20-mL minimum portions of fresh, boiling heptane and add the washings to the column.

6.2.5	1 or 2 portions of the eluent are tested by collecting approximately 20 mL in a 50 mL glass beaker and evaporating the solvent.  Elution is complete when only a trace of greasy residue is obtained in the beaker.  Any residue or solid is added back to the percolate with hot heptane.

6.2.6	The saponification number of the percolate is not determined.  The quantitative analysis procedure for a sample or reference is ended after the weight of paraffin-type hydrocarbons is recorded.

6.2.7	A known reference beeswax material is analyzed each time the column is prepared.

6.2.8	As specified in ASTM D 1342, attention must be given to ensure that no wax acids or esters are eluted and that no hydrocarbon is retained between samples.

6.3		Qualitative Screening Analysis of Percolate from Column Chromatography by GC, GC/MS or FTIR.  After the weight is recorded, the solid percolate collected from the eluent is screened by GC, GC/MS, or by FTIR to ensure that only paraffin-type hydrocarbons are present in the solid percolate.

6.3.1	For analysis by GC or GC/MS, the solid percolate is dissolved in chloroform in the proportion 0.01 g per mL solvent and analyzed as described in 6.1.3.  The chromatogram obtained by GC or total ion chromatogram obtained by GC/MS from the solid percolate is examined to verify that only paraffin-type hydrocarbons are present

6.3.2	For analysis by FTIR, a portion of the solid percolate is melted on a KBr plate under a heat lamp or in an oven.  A thin film is formed by spreading the melt evenly across the plate with a glass micropipette or similar implement.  The FTIR spectrum is recorded in transmission mode over the range 4000-600 cm-1.  The sample spectrum is then compared against spectra for reference beeswax and paraffin prepared and collected under the same conditions.  Absence of a C=O peak (circa 1730 - 1740 cm-1) in the spectrum of the solid percolate collected from the sample indicates that all of the wax acids and wax acid esters were retained on the column.

7.		EXPRESSION OF RESULTS

The percent weight of paraffin in the sample is obtained from the measured percent weight of paraffin-type hydrocarbons in the sample, and from either the measured or known (literature) percent weight of paraffin-type hydrocarbons in reference beeswax and paraffin. The percent weight of paraffin in the sample is calculated from:

% Paraffin = 100 * wHCsample - wHCref, beewHCref, par - wHCref, bee

where in the equation:

wHCsample  =  measured weight fraction of paraffin-type hydrocarbon in sample from 6.2 (g solid recovered from the eluent / g sample).

wHCref, bee  =  measured weight fraction of paraffin-type hydrocarbon in reference beeswax from 6.2 (g solid recovered from the eluent / g beeswax), or from literature or other reference value.

wHCref, par  =  weight fraction of hydrocarbon in reference paraffin (g hydrocarbon/g paraffin).

wHCref, par  =  1.0

8.		DELETED

9.		BIBLIOGRAPHY

This list is provided for general guidance and should not be considered exhaustive.  The user is expected to seek current references pertaining to this method.

9.1		Annual Book of ASTM Standards, Volume 15.04,  “Soap; Polishes; Leather; Resilient Floor Coverings.”  American Society for Testing and Materials.  Pennsylvania.  1996.

9.2		Encyclopedia of Chemical Technology, Third Edition, Volume 24.  Wiley-Interscience.  New York.  1984.

9.3		Bennett, H. (Editor).  Industrial Waxes, Volume I, “Natural and Synthetic Waxes.”  Chemical Publishing Co.  New York.  1975.

10.		NOTES ON THE PROCEDURE

10.1		In practice, a maximum of four analyses may be performed on a single column, one reference beeswax and three samples.  In this regard, it is convenient to prepare two columns at a time to maximize the number of samples that may be analyzed in one session.  If more than one sample is analyzed on a single column however, cautions regarding elution of wax acids and esters or retention of hydrocarbons noted in 6.2.8 and 6.3 must be heeded.

10.2		The percent weight of paraffin-type hydrocarbons in Refined Yellow Beeswax, CAS No. 8012-89-3, Aldrich #24,324-8, measured using this method yielded 14.7 +/- 0.4 % based on a limited number of analyses.  However, the percent weight of paraffin-type hydrocarbons in this material has not been certified.

END