U.S. CUSTOMS AND BORDER PROTECTION

LABORATORY METHODS

CBPL METHOD 38-01

ASTM D 3467

Standard Test Method for Carbon Tetrachloride

Activity of Activated Carbon

SAFETY STATEMENT

This CBPL Method cannot fully address safety issues that may arise from its use.  The analyst is responsible for assessing potential safety issues associated with a given method at its point of use.

Before using this method, the analyst will consider all general laboratory safety precautions.  In particular, the analyst will identify and implement suitable health and safety measures and will comply with all pertinent regulations.

METHOD UNCERTAINTY

The uncertainty of measurement for this method is specific to each laboratory.

0.		SCOPE AND FIELD OF 					APPLICATION

This method covers the determination of the activation level of activated carbon.  Activity, as measured by this method, is determined by measuring the pore volume of the sample by flowing CCl4-laden air through a sample of carbon of known weight, until there is no further increase in the weight of the sample, then determining the weight of the CCl4 adsorbed.  This method is applicable to products provided for in Chapter 38, Subheading 3802.10, of the Harmonized Tariff Schedule of the United States (HTSUS).

1.		REFERENCE

1.1		ASTM D 3467.  “Standard Test Method for Carbon Tetrachloride Activity of Activated Carbon.”

END