U.S. CUSTOMS AND BORDER

PROTECTION LABORATORY METHODS

CBPL METHOD 38-11

ASTM D 4818

Standard Classification for Rubber Compounding

Materials—Vulcanization Accelerators

SAFETY STATEMENT

This CBPL Method cannot fully address safety issues that may arise from its use.  The analyst is responsible for assessing potential safety issues associated with a given method at its point of use.

Before using this method, the analyst will consider all general laboratory safety precautions.  In particular, the analyst will identify and implement suitable health and safety measures and will comply with all pertinent regulations.

METHOD UNCERTAINTY

The uncertainty of measurement for this method is specific to each laboratory.

0.		SCOPE AND FIELD OF 					APPLICATION

The following reference describes chemical and physical properties of vulcanization accelerators.  These properties may be directly or indirectly related to the performance characteristics in rubber materials.  The accelerators are divided into six classes according to their chemical structure and application in the rubber industry.  Among the tests to measure accelerator chemical and physical properties are melting point, wet sieve test, percent ash, and percent moisture.  The information in this reference should be useful in the analysis and classification of prepared rubber accelerators provided for in Chapter 38, Heading 3812, of the Harmonized Tariff Schedule of the United States (HTSUS).

1.		REFERENCE

1.1		ASTM D 4818.  “Standard Classification for Rubber Compounding Materials—Vulcanization Accelerators.”

END