U.S. CUSTOMS AND BORDER

PROTECTION LABORATORY METHODS

CBPL METHOD 38-16

ASTM D 5974

Standard Test Methods for Fatty and Rosin Acids in Tall

Oil Fractionation Products by Capillary Gas Chromatography

SAFETY STATEMENT

This CBPL Method cannot fully address safety issues that may arise from its use.  The analyst is responsible for assessing potential safety issues associated with a given method at its point of use.

Before using this method, the analyst will consider all general laboratory safety precautions.  In particular, the analyst will identify and implement suitable health and safety measures and will comply with all pertinent regulations.

METHOD UNCERTAINTY

The uncertainty of measurement for this method is specific to each laboratory.

0.		SCOPE AND FIELD OF 					APPLICATION

This method covers the determination of the resin acids in tall oil, gum, or wood rosin after conversion to their methyl esters.  It uses a capillary column gas chromatograph.  This method is applicable to Chapter 38, Subheading 3806.10, of the Harmonized Tariff Schedule of the United States (HTSUS).

1.		REFERENCE

1.1		ASTM D 5974.  “Standard Test Methods for Fatty and Rosin Acids in Tall Oil Fractionation Products by Capillary Gas Chromatography.”

2.		BIBLIOGRAPHY

This list is provided for general guidance and should not be considered exhaustive.  The user is expected to seek current references pertaining to this method.

2.1		CBPL 38-07/ASTM D 3008.  “Standard Test Method for Resin Acids in Rosin by Gas-Liquid Chromatography.”

ASTM discontinued D 3008 in favor of D 5974. ASTM D 3008 can be used in laboratories that continue to operate packed column gas chromatography, however.

2.2		Mahany, P.G.  “Differentiation of Gum, Wood, and Tall Oil Rosins.”  US Customs Bulletin.  Volume 14, Number 1.  1980.  P 6.

END