U.S. CUSTOMS AND BORDER PROTECTION

LABORATORY METHODS

CBPL METHOD 39-03

ASTM D 4128

Standard Practice for Identification and Quantitation of

Organic Compounds in Water by Combined Gas Chromatography

and Electron Impact Mass Spectrometry

SAFETY STATEMENT

This CBPL Method cannot fully address safety issues that may arise from its use.  The analyst is responsible for assessing potential safety issues associated with a given method at its point of use.

Before using this method, the analyst will consider all general laboratory safety precautions.  In particular, the analyst will identify and implement suitable health and safety measures and will comply with all pertinent regulations.

METHOD UNCERTAINTY

The uncertainty of measurement for this method is specific to each laboratory.

0.		SCOPE AND FIELD OF 					APPLICATION

This method describes the standard practice and procedures for using packed or capillary gas chromatographic columns to identify volatile and semi-volatile organic and inorganic compounds in either aqueous or organic solvent matrices by gas chromatography/mass spectrometry (GC/MS) (electron impact).  This method is intended to provide appropriate guidelines in the analysis of commodities of Chapter 39 of the Harmonized Tariff Schedule of the United States (HTSUS).

1.		REFERENCE

1.1		ASTM D 4128.  “Standard Practice for Identification and Quantitation of Organic Compounds in Water by Combined Gas Chromatography and Electron Impact Mass Spectrometry.”

END