U.S. CUSTOMS AND BORDER PROTECTION

LABORATORY METHODS

CBPL METHOD 39-10

NHM

ASTM D 792

Standard Test Methods for Density and Specific

Gravity (Relative Density) of Plastics by Displacement

SAFETY STATEMENT

This CBPL Method cannot fully address safety issues that may arise from its use.  The analyst is responsible for assessing potential safety issues associated with a given method at its point of use.

Before using this method, the analyst will consider all general laboratory safety precautions.  In particular, the analyst will identify and implement suitable health and safety measures and will comply with all pertinent regulations.

METHOD UNCERTAINTY

The uncertainty of measurement for this method is specific to each laboratory.

0.		SCOPE AND FIELD OF					APPLICATION

0.1		This method may be used for the determination of the specific gravity of polymers of ethylene, in primary form, as provided for in Chapter 39, Heading 3901, of the Harmonized Tariff Schedule of the United States (HTSUS).

0.2	The method describes the general practice and procedure for the determination of the specific gravity in various plastic material using displacement.

0.3 	The method may be used in the determination of plastic material that can become wet with water, but is not affected by water.

0.4	The method may be used for the determination of specific gravity of plastic materials that are lighter than water or heavier than water.

1.		REFERENCE

1.1		ASTM D 792.  “Standard Test Methods for Density and Specific Gravity (Relative Density) of Plastics by Displacement.”

END