U.S. CUSTOMS AND BORDER PROTECTION

LABORATORY METHODS

CBPL METHOD 39-15

ASTM D 2257

Standard Test Method for Extractable Matter in Textiles

SAFETY STATEMENT

This CBPL Method cannot fully address safety issues that may arise from its use.  The analyst is responsible for assessing potential safety issues associated with a given method at its point of use.

Before using this method, the analyst will consider all general laboratory safety precautions.  In particular, the analyst will identify and implement suitable health and safety measures and will comply with all pertinent regulations.

METHOD UNCERTAINTY

The uncertainty of measurement for this method is specific to each laboratory.

0.		SCOPE AND FIELD OF					APPLICATION

This method may be useful in the analysis of goods provided for in Chapter 39 of the Harmonized Tariff Schedule of the United States (HTSUS).

0.1		The method describes practice and procedure for the extraction of extractable materials from most fibers, yarns, and fabrics.

0.2		The method may be used in clean up procedures for various polymers, fibers, yarns, and fabrics, including man-made fibers.

0.3		The method may be used to separate various fiber, yarn, fabric, and polymer materials into their respective components based upon different solubilities.

1.		REFERENCE

1.1		ASTM D 2257.  “Standard Test Method for Extractable Matter in Textiles.”

END