U.S. CUSTOMS AND BORDER PROTECTION

LABORATORY METHODS

CBPL METHOD 39-32

# USP/NF <761>

Nuclear Magnetic Resonance

SAFETY STATEMENT

This CBPL Method cannot fully address safety issues that may arise from its use.  The analyst is responsible for assessing potential safety issues associated with a given method at its point of use.

Before using this method, the analyst will consider all general laboratory safety precautions.  In particular, the analyst will identify and implement suitable health and safety measures and will comply with all pertinent regulations.

METHOD UNCERTAINTY

The uncertainty of measurement for this method is specific to each laboratory.

0.		SCOPE AND FIELD OF 					APPLICATION

The procedure outlines a general method for determining the Nuclear Magnetic Resonance (NMR) spectrum of a plastic material.  The procedure covers both qualitative and quantitative analyses that may be useful for goods provided for in Chapter 39 of the Harmonized Tariff Schedule of the United States (HTSUS).

1.		REFERENCES

1.1		Hahn, E.C.  "A Review of the Quantitative Analysis of Soluble Polymers Using Proton Nuclear Magnetic Resonance Spectroscopy."  Customs Laboratory Bulletin.  Vol. 6, No. 2.  U.S. Customs Service.  April 1994.  Pp. 89-105.

1.2		USP/NF <761>.  “Nuclear Magnetic Resonance.”

#### END