U.S. CUSTOMS AND BORDER PROTECTION

LABORATORY METHODS

CBPL METHOD 39-38

CBPL 72-32

Guidelines for Elemental Qualitative

# Analysis by X-ray Fluorescence

# SAFETY STATEMENT

This CBPL Method cannot fully address safety issues that may arise from its use.  The analyst is responsible for assessing potential safety issues associated with a given method at its point of use.

Before using this method, the analyst will consider all general laboratory safety precautions.  In particular, the analyst will identify and implement suitable health and safety measures and will comply with all pertinent regulations.

METHOD UNCERTAINTY

The uncertainty of measurement for this method is specific to each laboratory.

0.		SCOPE AND FIELD OF 					APPLICATION

0.1		This method describes the use of Wavelength Dispersive X-ray Fluorescence (WDXRF), Energy Dispersive X-ray Fluorescence (EDXRF) and Scanning Electron Microscope/Energy Dispersive Spectrometer (SEM/EDS) systems for elemental qualitative analysis of various materials in different forms (solid, liquid, and powder).  This is among the recommended methods that will prove useful in the analysis of commodities in Chapter 39 of the Harmonized Tariff Schedule of the United States (HTSUS) to establish identity based on elemental composition.

0.2		It is the responsibility of the user to ascertain that the spectrometer being used is capable of detecting the level of concentration of the elements of interest.  Refer to 1.6.

0.3		The user is expected to be familiar with the operation of the spectrometer, its capabilities and limitations.  Depending on the capabilities of the software being used (e.g., automatic peak identification, automatic setting of instrument operating conditions, etc.), some aspects of this method may not be applicable.

1.		REFERENCES

This list is provided for general guidance and should not be considered exhaustive.  The user is expected to seek current references pertaining to this method.

1.1		ASTM C 982.  Standard Guide for Selecting Components for Energy-Dispersive X-ray Fluorescence (XRF) Systems.”

1.2		ASTM E 1508.  “Standard Guide for Quantitative Analysis by Energy-Dispersive Spectroscopy.”

1.3		ASTM E 1622.  “Standard Practice for Correction of Spectral Line Overlap in Wavelength-Dispersive X-ray Spectrometry.”

1.4		CBPL 72-30/ASTM E 1621.  “Standard Guide for X-ray Emission Spectrometric Analysis.”

1.5		CBPL 72-32  “Guidelines for Elemental Qualitative Analysis by X-ray Fluorescence.”

1.6		LSS-350.  “Method Detection Limits.”

END