U.S. CUSTOMS AND BORDER PROTECTION

LABORATORY METHODS

CBPL METHOD 40-04

ASTM D 3452

Standard Practice for Rubber—

Identification by Pyrolysis-Gas Chromatography

SAFETY STATEMENT

This CBPL Method cannot fully address safety issues that may arise from its use.  The analyst is responsible for assessing potential safety issues associated with a given method at its point of use.

Before using this method, the analyst will consider all general laboratory safety precautions.  In particular, the analyst will identify and implement suitable health and safety measures and will comply with all pertinent regulations.

METHOD UNCERTAINTY

The uncertainty of measurement for this method is specific to each laboratory.

0.		SCOPE AND FIELD OF 					APPLICATION

This reference is a guide to identifying polymers in raw rubbers, and in polymer (rubber) blends.  The rubber can be either cured or uncured single polymers, or of specific polymer blends.  The identification is done by comparison with the pyrolysis-GC pattern (pyrograms) of their pyrolysis products.  Analysis presupposes a working knowledge of gas chromatography, and its principles sufficient to analyze and interpret the results consistent with the needs of Chapter 40, Subheadings 4001 through 4002, of Harmonized Tariff Schedule of the United States (HTSUS).

1.		REFERENCE

1.1		ASTM D 3452.  “Standard Practice for Rubber—Identification by Pyrolysis-Gas Chromatography.”

END