U.S. CUSTOMS AND BORDER PROTECTION

LABORATORY METHODS

CBPL METHOD 40-07

ASTM D 3182

Standard Practice for Rubber—Materials, Equipment,

and Procedures for Mixing Standard Compounds

and Preparing Standard Vulcanized Sheets

SAFETY STATEMENT

This CBPL Method cannot fully address safety issues that may arise from its use.  The analyst is responsible for assessing potential safety issues associated with a given method at its point of use.

Before using this method, the analyst will consider all general laboratory safety precautions.  In particular, the analyst will identify and implement suitable health and safety measures and will comply with all pertinent regulations.

METHOD UNCERTAINTY

The uncertainty of measurement for this method is specific to each laboratory.

0.		SCOPE AND FIELD OF 					APPLICATION

0.1		A list is given of reference compounding materials needed to prepare the rubber test compounds given in the following methods, including that for the vulcanizing equipment and procedures for preparing Standard Vulcanized Sheets. These sheets are used in the preparation of test strips that will be tested for conformance with the requirements of Chapter 40, Note 4 (a) of the Harmonized Tariff Schedule of the United States (HTSUS).  This is done to determine whether the product is a rubber of Chapter 40.  If the product does not conform, then it may be a polymer of Chapter 39.

0.2		For the purposes of HTSUS Note 4 (a), the listing of the Industry Reference Materials includes two different carbon blacks that are not allowed in the testing in Note 4 (a) as provided for by Note 5 (b) (ii) and (iii).

0.3		NOTE:  The use of hazardous chemicals is subject to the current regulations.

1.		REFERENCE

1.1		ASTM D 3182.  “Standard Practice for Rubber—Materials, Equipment, and Procedures for Mixing Standard Compounds and Preparing Standard Vulcanized Sheets.”

END