U.S. CUSTOMS AND BORDER PROTECTION

LABORATORY METHODS

CBPL METHOD 44-04

ASTM E 355

Standard Practice for Gas Chromatography

Terms and Relationships

SAFETY STATEMENT

This CBPL Method cannot fully address safety issues that may arise from its use.  The analyst is responsible for assessing potential safety issues associated with a given method at its point of use.

Before using this method, the analyst will consider all general laboratory safety precautions.  In particular, the analyst will identify and implement suitable health and safety measures and will comply with all pertinent regulations.

METHOD UNCERTAINTY

The uncertainty of measurement for this method is specific to each laboratory.

0.		SCOPE AND FIELD OF 					APPLICATION

This practice covers the terms and relationships used in gas chromatography.  It covers, inter alia, the definitions of terms such as the phase ratio of the column, average linear gas velocity, and the retention factor.  This is basic information that should help one become more familiar with the process of gas chromatography.  This may prove useful in the analysis of commodities provided for in Chapter 44 of the Harmonized Tariff Schedule of the United States (HTSUS).

1.		REFERENCE

1.1		ASTM E 355.  “Standard Practice for Gas Chromatography Terms and Relationships.”

END