U.S. CUSTOMS AND BORDER PROTECTION

LABORATORY METHODS

CBPL METHOD 48-29

Deactivated

TAPPI T 414

Internal Tearing Resistance of Paper

(Elmendorf-Type Method)

SAFETY STATEMENT

This CBPL Method cannot fully address safety issues that may arise from its use.  The analyst is responsible for assessing potential safety issues associated with a given method at its point of use.

Before using this method, the analyst will consider all general laboratory safety precautions.  In particular, the analyst will identify and implement suitable health and safety measures and will comply with all pertinent regulations.

METHOD UNCERTAINTY

The uncertainty of measurement for this method is specific to each laboratory.

0.		SCOPE AND FIELD OF 				APPLICATION

Paper and paperboard products are provided for in Chapter 48 of the Harmonized Tariff Schedule of the United States (HTSUS).  For commodities of this kind, tearing resistance is measured directly.  These samples must be conditioned before analysis.  This method is recommended when applicable.

1.		REFERENCE

1.1		TAPPI T 414.  “Internal Tearing Resistance of Paper (Elmendorf-Type Method).”

END