U.S. CUSTOMS AND BORDER PROTECTION

LABORATORY METHODS

CBPL METHOD 48-49

Deactivated

TAPPI T 456

Tensile Breaking Strength of Water-Saturated

Paper and Paperboard ("Wet Tensile Strength")

SAFETY STATEMENT

This CBPL Method cannot fully address safety issues that may arise from its use.  The analyst is responsible for assessing potential safety issues associated with a given method at its point of use.

Before using this method, the analyst will consider all general laboratory safety precautions.  In particular, the analyst will identify and implement suitable health and safety measures and will comply with all pertinent regulations.

METHOD UNCERTAINTY

The uncertainty of measurement for this method is specific to each laboratory.

0.		SCOPE AND FIELD OF 					APPLICATION

Paper and paperboard products are provided for in Chapter 48 of the Harmonized Tariff Schedule of the United States (HTSUS).  For commodities of this kind, the sample must be prepared before analysis.  This method is used to determine the tensile strength of paper and paperboard that have been saturated with water.  Tensile breaking strength is evaluated in accordance with 1.2 and 1.3.  This method is recommended when applicable.

1.		REFERENCES

1.1		TAPPI T 456.  “Tensile Breaking Strength of Water-Saturated Paper and Paperboard ("Wet Tensile Strength").”

1.2		CBPL 48-26/TAPPI T 494.  “Tensile Breaking Properties of Paper and Paperboard (Using Constant Rate of Elongation Apparatus).”

1.3		TAPPI T 404.   “The Tensile Breaking Strength and Elongation of Paper and Paperboard (Using Pendulum Type Tester).”

END