U.S. CUSTOMS AND BORDER PROTECTION

LABORATORY METHODS

CBPL METHOD 49-01

TAPPI T 402

Standard Conditioning and Testing Atmospheres for

Paper, Board, Pulp Handsheets, and Related Products

SAFETY STATEMENT

This CBPL Method cannot fully address safety issues that may arise from its use.  The analyst is responsible for assessing potential safety issues associated with a given method at its point of use.

Before using this method, the analyst will consider all general laboratory safety precautions.  In particular, the analyst will identify and implement suitable health and safety measures and will comply with all pertinent regulations.

METHOD UNCERTAINTY

The uncertainty of measurement for this method is specific to each laboratory.

0.		SCOPE AND FIELD OF 					APPLICATION

This method is recommended for analysis of paper and paperboard, commodities provided for in Chapter 49 of the Harmonized Tariff Schedule of the United States (HTSUS).  This method describes the standard atmospheres, including temperature and humidity, for normal preconditioning and conditioning, which are necessary for paper, paperboard products, and fiberboard, before analysis can occur.

1.		REFERENCE

1.1		TAPPI T 402.  “Standard Conditioning and Testing Atmospheres for Paper, Board, Pulp Handsheets, and Related Products.”

END