U.S. CUSTOMS AND BORDER PROTECTION

LABORATORY METHODS

CBPL METHOD 50-09

ASTM E 168

Standard Practices for General

Techniques of Infrared Quantitative Analysis

SAFETY STATEMENT

This CBPL Method cannot fully address safety issues that may arise from its use.  The analyst is responsible for assessing potential safety issues associated with a given method at its point of use.

Before using this method, the analyst will consider all general laboratory safety precautions.  In particular, the analyst will identify and implement suitable health and safety measures and will comply with all pertinent regulations.

METHOD UNCERTAINTY

The uncertainty of measurement for this method is specific to each laboratory.

0.		SCOPE AND FIELD OF 					APPLICATION

These practices cover the techniques most often used in infrared quantitative analysis.  Practices include, inter alia, baseline procedures for computerized instruments, sample preparation (including polymers), statistics, and setting up an analytical procedure.  This procedure should prove useful in the determination of the composition of copolymers, especially those that are not amenable to NMR techniques because of solubility problems.  The method may be useful in the analysis of goods provided for in Chapter 50 of the Harmonized Tariff Schedule of the United States (HTSUS).

## 1.		REFERENCE

## 1.1		ASTM E 168.  “Standard Practices for General Techniques of Infrared Quantitative Analysis.”

END