U.S. CUSTOMS AND BORDER PROTECTION

LABORATORY METHODS

CBPL METHOD 50-10

# ASTM E 334

##### Standard Practice for General Techniques

##### of Infrared Microanalysis

SAFETY STATEMENT

This CBPL Method cannot fully address safety issues that may arise from its use.  The analyst is responsible for assessing potential safety issues associated with a given method at its point of use.

Before using this method, the analyst will consider all general laboratory safety precautions.  In particular, the analyst will identify and implement suitable health and safety measures and will comply with all pertinent regulations.

METHOD UNCERTAINTY

The uncertainty of measurement for this method is specific to each laboratory.

0.		SCOPE AND FIELD OF 					APPLICATION

This practice covers techniques that are of general use in securing and analyzing microgram quantities of samples by infrared (IR) spectrophotometric techniques.  This practice includes, inter alia, discussion of the use of micro cells, analysis of gas and liquid chromatography fractions, as well as the use of an IR microscope.  This method may be applicable to the analysis of articles classified in Chapter 50 of the Harmonized Tariff Schedule of the United States (HTSUS).

1.		SAMPLE COLLECTION AND 				PREPARATION OF FIBERS FOR 			MICROSCOPIC IR ANALYSIS

To prepare fibers, which are embedded, coated, or covered with a plastic or rubber materials, for microscopic IR analysis a representative sampling of fibers is removed from the sample and prepared or handled according to 2.1, Section 11.

2.		REFERENCE

2.1		ASTM E 334.  “Standard Practice for General Techniques of Infrared Microanalysis.”

END