U.S. CUSTOMS AND BORDER PROTECTION

LABORATORY METHODS

CBPL METHOD 50-18

Textiles—Methods and Procedures for the Analysis of Silk

SAFETY STATEMENT

This CBPL Method cannot fully address safety issues that may arise from its use.  The analyst is responsible for assessing potential safety issues associated with a given method at its point of use.

Before using this method, the analyst will consider all general laboratory safety precautions.  In particular, the analyst will identify and implement suitable health and safety measures and will comply with all pertinent regulations.

METHOD UNCERTAINTY

The uncertainty of measurement for this method is specific to each laboratory.

0.		INTRODUCTION

Chapter 50 of the Harmonized Tariff Schedule of the United States (HTSUS) provides for silk.  Correct identification and analysis of silk is a requirement for proper tariff classification.  The procedures discussed in this method involve instrumental analysis, polarized light microscopic techniques and observations.  The analytical results are reported in accordance with the heading and subheading requirements of HTSUS Chapter 50.

1.		SCOPE AND FIELD OF 					APPLICATION

Chapter 50 of the Harmonized Tariff Schedule of the United States (HTSUS) requires the identification and quantitation of silk in textile materials.  These analyses are performed using techniques, procedures and (or) methods found in various reference methods from ISO, ASTM, AATCC, and similar technical references.

2.		REFERENCES

This list is provided for general guidance and should not be considered exhaustive.  The user is expected to seek current references pertaining to this method.

2.1		CBPL 50-01/AATCC 20.  “Fiber Analysis:  Qualitative.”

2.2		CBPL 50-02/ASTM D 629.  “Standard Test Methods for Quantitative Analysis of Textiles.”  Section 23.

2.3		CBPL 50-03/AATCC 20A.  “Fiber Analysis:  Quantitative.”

2.4		CBPL 50-05/ISO 1833.  “Binary Fibre Mixtures—Quantitative Chemical Analysis.”

2.5		CBPL 50-08/ASTM D 5103.  “Standard Test Method for Length and Length Distribution of Man-Made Staple Fibers (Single Fiber Test).”

2.6		CBPL 50-13/ASTM D 3774.  “Standard Test Methods for Width of Woven Fabric.”

2.7		CBPL 50-14/ASTM D 3775.  “Standard Test Methods for Fabric Count of Woven Fabric.”

2.8		CBPL 50-17/CBPL Manual.  “Textiles—Weave Type Determination for Section XI—Harmonized Tariff Schedule of the United States.”

2.9		CBPL 50-21/ISO 3572.  “Textiles—Weaves—Definitions of General Terms and Basic Weaves.”

2.10		CBPL 50-23/ISO 139.  “Textiles—Standard Atmospheres for Conditioning and Testing.”

2.11		CBPL 50-24/ISO 5089.  “Preparation of Laboratory Test Samples and Test Specimens for Chemical Testing.”

2.12		CBPL 50-25/ISO 5090.  “Textiles—Methods for the Removal of Non-fibrous Matter Prior to Quantitative Analysis of Fibre Mixtures.”

2.13		CBPL 50-26/ISO 5088.  “Textiles—Ternary Fibre Mixtures—Quantitative Chemical Analysis.”

2.14		CBPL 50-31/ISO 2060.  “Textiles—Yarn from Packages—Determination of Linear density (Mass per Unit Length)—Skein Method.”

2.15		CBPL 50-36/ISO 3932.  “Textiles—Woven Fabrics—Measurement of Width of Pieces.”

2.16		CBPL 50-40/ISO 7211/2.  “Textiles—Woven Fabrics—Construction—Methods of Analysis—Part 2:  Determination of Number of Threads per Unit Area.”

2.17		CBPL 51-01/ASTM D 1776.  “Standard Practice for Conditioning and Testing Textiles.”

2.18		CBPL 51-10/ASTM D 1907.  “Standard Test Method for Yarn Number by the Skein Method.”

2.19		CBPL 52-03/ISO 2061.  “Textiles—Determination of Twist in Yarns—Direct Counting Method.”

2.20		CBPL 54-01/ASTM D 1423.  “Standard Test Methods for Twist in Yarns by the Direct-Counting Method.”

2.21		CBPL 56-03/ISO 6989.  “Textiles—Determination of Length and Length Distribution of Staple fibres (by Measurement of Single Fibres).”

2.22		Harmonized Tariff Schedule of the United States (HTSUS).  Section XI, Chapter 50.

3.		PRINCIPLE

This method comprises a list of reference methods that can be used to identify and quantify silk in all textile materials.

4.		APPARATUS

4.1		A polarizing light microscope (PLM) comprising a light source, a light condenser, a stage to support the slide carrying the fibers, an ocular, and objectives.  A first order red plate is desirable.

4.1.1	A stage, movable in two directions at right angles by means of a sliding mechanism and capable of successive displacements in 0.5 mm increments.

4.1.2	Objective and ocular, capable of providing at least 100X magnification.

4.2		Suitable mounting media.

4.3		Cover-glass slips.

4.4		Known silk reference standards.

4.5		Precision balance, with a range up to 100 grams and accurate to at least 0.1 gram.

4.6		Analytical balance, accurate to 0.1 milligram.

5.		CONDITIONING AND TESTING			ATMOSPHERE

The atmosphere for conditioning and testing is specified in Part IV of the General Explanatory Notes of the HTSUS.  Follow the procedures specified in 2.10 or 2.17, Section 7, to achieve the standard temperate atmosphere for conditioning and testing.

6.		PROCEDURE

6.1		General:  applicable to all Chapter 50 headings and subheadings.

6.1.1	Consult the Harmonized Commodity Description and Coding System Explanatory Notes for a description of the goods covered by the headings and subheadings.

6.1.2	A visual and microscopic examination, including a comparison with known reference standards, is necessary to ensure that the product contains silk.

6.1.3	Use 2.2 (Section 9), 2.3 (Section 9.1), or 2.12 to remove any non-fibrous materials before conducting any quantitative analysis.5

6.1.4	Use 2.2, 2.3, 2.4, or 2.13 to determine the percent of silk when silk is mixed with other fibers.

6.2		Silk worm cocoons suitable for reeling (HTSUS 5001).

6.2.1	Refer to the general procedures in 6.1 for identification and composition.

6.3		Raw silk (not thrown) (HTSUS 5002).

6.3.1	Refer to the general procedures in 6.1 for identification and composition.

6.3.2	Use 2.19 or 2.20 to ensure that the raw silk has not been thrown (twisted).

6.4		Silk waste (including cocoons unsuitable for reeling, yarn waste, and garnetted stock) (HTSUS 5003).

6.4.1	Refer to the general procedures in 6.1 for identification and composition.

6.4.2	Use 2.5 or 2.21 to assist in determining whether the sample has been carded and (or) combed.

6.5		Silk yarn (other than yarn spun from silk waste) not put up for retail sale (HTSUS 5004).

6.5.1	Refer to the general procedures in 6.1 for identification and composition to confirm that silk predominates over any other textile material.

6.5.2	Use 2.5 or 2.21 to determine whether the yarns comprise silk filaments, i.e., continuous, and not silk waste.  If the yarn comprises both silk filaments and silk waste, manually separate the waste from the filaments and determine the relative percentages by weight.

6.5.3	Use 2.14 or 2.18 to determine the decitex of the yarns.  Yarn decitex must be 20,000 or less.

6.5.4	If it is suspected that the yarns could be “put up for retail sale,” determine the mass of the sample.  Use an analytical balance accurate to 0.1 g (4.6).

6.6		Yarn spun from silk waste, not put up for retail sale (HTSUS 5005).

6.6.1	Refer to the general procedures in 6.1 for identification and composition to confirm that silk predominates over any other textile material.

6.6.2	Use 2.5 or 2.21 to determine whether the yarns comprise silk waste, i.e., discontinuous, and not silk filaments.  If the yarn comprises both silk waste and filaments, manually separate the waste from the filaments and determine the relative percentages by weight.

6.6.3	Use 2.14 or 2.18 to determine whether the decitex of the yarns is less than 20,000.

6.6.4	If it is suspected that the yarns could be “put up for retail sale,” determine the mass of the sample.  Use an analytical balance accurate to 0.1 g (4.6).

6.7		Silk yarn and yarn spun from silk waste, put up for retail sale; silkworm gut (HTSUS 5006).

6.7.1	Refer to the general procedures in 6.1 for identification and composition to determine whether silk predominates over any other textile material.

6.7.1	Use 2.14 or 2.18 to determine the decitex of the yarns.  Yarn decitex must be 20,000 or less.

6.7.2	Determine the mass of the sample.  Use an analytical balance accurate to 0.1 g (4.6).

6.7.3	Silkworm gut should be compared to a known reference sample of silkworm gut.

6.8		Woven fabrics of silk or of silk waste.

6.8.1	Refer to the general procedures in 6.1 for identification and composition to determine whether silk predominates over any other textile material.

6.8.2	Use 2.5 or 2.21 to determine whether the yarns are silk filaments (continuous), or silk waste (discontinuous).  If the yarn comprises both silk waste and silk filaments, manually separate the waste from the filaments and determine the relative percentages by weight.

6.8.3	Use 2.6 or 2.15 to determine the width of the woven fabric.

6.8.4	Use 2.7 or 2.16 to determine the number of warp yarns per centimeter.

6.8.5	Use 2.8 to determine whether the fabric is jacquard woven.

7.		NOTES ON PROCEDURE

7.1		To determine whether silk yarn is “put up for retail sale,” consult Note 4 to Section XI of the Explanatory Notes to the HTSUS.

END

5  Pro-rate the weight of the removed sizings or dressings to the calculated percentage of clean fibers to determine the fiber content as described by General Note (1)(A)(5) to Section XI of the Harmonized Commodity Description and Coding System Explanatory Notes.