U.S. CUSTOMS AND BORDER PROTECTION

LABORATORY METHODS

CBPL METHOD 51-01

NHM

ASTM D 1776

Standard Practice for Conditioning and Testing Textiles

SAFETY STATEMENT

This CBPL Method cannot fully address safety issues that may arise from its use.  The analyst is responsible for assessing potential safety issues associated with a given method at its point of use.

Before using this method, the analyst will consider all general laboratory safety precautions.  In particular, the analyst will identify and implement suitable health and safety measures and will comply with all pertinent regulations.

METHOD UNCERTAINTY

The uncertainty of measurement for this method is specific to each laboratory.

0.		SCOPE AND FIELD OF 					APPLICATION

The characteristics and use of standard atmospheres for conditioning and determining the physical and mechanical properties of textiles are set out in Section XI, General (IV) of the Explanatory Notes (EN) to the Harmonized Commodity Description and Coding System.  The following reference contains procedures that should prove useful in the conditioning of textiles, such as those provided for in Chapter 51 of the Harmonized Tariff Schedule of the United States (HTSUS), for testing in instances where such conditioning is specified in a test method.

The standard temperate atmosphere for textile testing will be as specified in ISO 139, i.e., Relative Humidity (RH) of 65 percent (%) +/- 2% and Temperature of 20 degrees Celsius (°C) +/- 2 °C.

1.		REFERENCE

1.1		ASTM D 1776.  “Standard Practice for Conditioning and Testing Textiles.”

END