U.S. CUSTOMS AND BORDER PROTECTION

LABORATORY METHODS

CBPL METHOD 51-12

NHM

# ASTM D 3776

Standard Test Method for

Mass Per Unit Area (Weight) of Fabric

SAFETY STATEMENT

This CBPL Method cannot fully address safety issues that may arise from its use.  The analyst is responsible for assessing potential safety issues associated with a given method at its point of use.

Before using this method, the analyst will consider all general laboratory safety precautions.  In particular, the analyst will identify and implement suitable health and safety measures and will comply with all pertinent regulations.

METHOD UNCERTAINTY

The uncertainty of measurement for this method is specific to each laboratory.

0.		SCOPE AND FIELD OF 					APPLICATION

This reference covers the measurement of fabric per unit area (weight) and is applicable to most fabrics.  Four options are presented.  This method may be applicable to commodities classifiable in Chapter 51 of the Harmonized Tariff Schedule of the United States (HTSUS).

Use of this method to address quantitative HTSUS criteria requiring specified accuracy should include a determination of the precision and accuracy and an evaluation of its fitness for use in the specific application.

1.		REFERENCE

1.1		ASTM D 3776.  “Standard Test Method for Mass Per Unit Area (Weight) of Fabric.”

END