U.S. CUSTOMS AND BORDER PROTECTION

LABORATORY METHODS

- CBPL METHOD 52-14

## ASTM D 5867

Standard Test Methods for Measurement of Physical

Properties of Cotton Fibers by High Volume Instruments

# SAFETY STATEMENT

This CBPL Method cannot fully address safety issues that may arise from its use.  The analyst is responsible for assessing potential safety issues associated with a given method at its point of use.

# Before using this method, the analyst will consider all general laboratory safety precautions.  In particular, the analyst will identify and implement suitable health and safety measures and will comply with all pertinent regulations.

# METHOD UNCERTAINTY

The uncertainty of measurement for this method is specific to each laboratory.

- 0.		SCOPE AND FIELD OF 					APPLICATION

This method covers the practices associated with measuring the color, trash content, micronaire, length, length uniformity, strength and elongation of cotton fibers using HVI systems described in the scope of the ASTM procedure noted.  It is suitable for the analysis of cotton fibers provided for in Chapter 52 of the Harmonized Tariff Schedule of the United States (HTSUS).

- 1.		REFERENCES

- 1.1		ASTM D1441.  “Standard Practices for Sampling Cotton Fibers for Testing.”

## 1.2		ASTM D 5867.  “Standard Test Methods for Measurement of Physical Properties of Cotton Fibers by High Volume Instruments.”

- 1.3		HQ 960362.  August 22, 1997.

- 2.		SAMPLING AND SAMPLES

When sampling cotton for laboratory analysis, Customs officers will follow the instructions in method ASTM D1441 under Sections 9.1 & 10.1.1.  In addition, each laboratory sample will be legibly marked, using indelible ink, with a bale number (using numerals only) and with the entry number.  All samples from the same lot will be sent to the laboratory at the same time.

Third party samplers (or commercial cotton samplers) will follow the requirements noted in the previous paragraph.  In addition, the commercial cotton sampler is required to take two samples from each bale sampled, send one to Customs and keep one for one year.

END