U.S. CUSTOMS AND BORDER PROTECTION

LABORATORY METHODS

CBPL METHOD 54-13

Qualitative Determination of Textured Yarns

## SAFETY STATEMENT

This CBPL Method cannot fully address safely that may arise from its use.  The analyst is responsible for assessing potential safety issues associated with a given method at its point of use.

Before using this method, the analyst will consider all general laboratory safety precautions.  In particular, the analyst will identify and implement suitable health and safety measures and will comply with all pertinent regulations.

METHOD UNCERTAINTY

The uncertainty of measurement for this method is specific to each laboratory.

# 0.		INTRODUCTION

This method covers the qualitative determination of textured yarns by observation with naked eye or with low power magnification and comparison to known standards or published references (diagrams or photographs).

1.		SCOPE AND FIELD OF 					APPLICATION

Textured yarns, as defined in the Explanatory Notes, are classified in Chapter 54 of the Harmonized Tariff Schedule of the United States (HTSUS).

# 2.		REFERENCES

2.1		Explanatory Notes  (Third Edition), Volume 2.  Section XI, Chapter 54, Subheading Explanatory Notes, Subheadings 5402.31 to 5402.39, “Textured Yarns.”  World Customs Organization.  Brussels.  2002.

2.2		ASTM D 2255.  “Standard Test Method for Grading Spun Yarns for Appearance.”

2.3		ASTM D 3775.  “Standard Test Method for Fabric Count of Woven Fabric.”  [Section 6, “Apparatus.”]

## 3.		BIBLIOGRAPHY

This list is provided for general guidance and should not be considered exhaustive.  The user is expected to seek current references pertaining to this method.

3.1		Adanur, S.  Wellington Sears Handbook of Industrial Textiles.  Technomic Company, Inc.  Pennsylvania.  1995.

3.2		Corbman, B.P.  Textiles Fiber to Fabric (Sixth Edition).  McGraw-Hill, Inc.  New York.  1983.

3.3		Hearle, J.W.S., Hollick, L., and Wilson, D.K.  Yarn Texturing Technology.  Woodhead Publishing, Ltd.  Cambridge (UK).  2001.

3.4		Smith, B.F. and Block, I.  Textiles in Perspective.  Prentiss-Hall, Inc.  New Jersey.  1982.

END