U.S. CUSTOMS AND BORDER PROTECTION

LABORATORY METHODS

CBPL METHOD 55-13

Identification of Dyed Woven Fabric

and Woven Fabric of Yarns of Different Colors

##### SAFETY STATEMENT

This CBPL Method cannot fully address safety issues that may arise from its use.  The analyst is responsible for assessing potential safety issues associated with a given method at its point of use.

Before using this method, the analyst will consider all general laboratory safety precautions.  In particular, the analyst will identify and implement suitable health and safety measures and will comply with all pertinent regulations.

METHOD UNCERTAINTY

The uncertainty of measurement for this method is specific to each laboratory.

0.		SCOPE AND FIELD OF 					APPLICATION

The references contain procedures to determine the color coordinates and the color difference values of the colored object at the chosen illuminant and observer.  The calculated color difference value (Ecmc) at the chosen illuminant and observer is applicable to determining whether there is a small color difference in a woven fabric of yarns of different colors using a set tolerance limit.

This method is suitable for goods classifiable in the Chapter 55 of the Harmonized Tariff Schedule of the United States (HTSUS), Section XI, Subheading Notes 1(g) and (h).

1.		REFERENCES

1.1		AATCC 173.  “CMC: Calculation of Small Color Differences for Acceptability.”

1.2		ASTM D 2244.  “Standard Practice for Calculation of Color Tolerances and Color Differences from Instrumental Measured Color Coordinates.”  [Formerly titled:  “Standard Test Method for Calculation of Color Differences from Instrumentally Measured Color Coordinates.”]

2.		BIBLIOGRAPHY

This list is provided for general guidance and should not be considered exhaustive.  The user is expected to seek current references pertaining to this method.

2.1		ASTM E 313.  “ Standard Practice for Calculating Yellowness and Whiteness Indices from Instrumentally Measured Color Coordinates.”

END