U.S. CUSTOMS AND BORDER PROTECTION

LABORATORY METHODS

CBPL METHOD 58-04

ASTM E 1252

Standard Practice for General Techniques for

Obtaining Infrared Spectra for Qualitative Analysis

SAFETY STATEMENT

This CBPL Method cannot fully address safety issues that may arise from its use.  The analyst is responsible for assessing potential safety issues associated with a given method at its point of use.

Before using this method, the analyst will consider all general laboratory safety precautions.  In particular, the analyst will identify and implement suitable health and safety measures and will comply with all pertinent regulations.

METHOD UNCERTAINTY

The uncertainty of measurement for this method is specific to each laboratory.

0.		SCOPE AND FIELD OF 					APPLICATION

According to ASTM E 1252, “This practice covers the spectral range from 4000 to 50 cm-1 and includes techniques that are useful for qualitative analysis of liquid-, solid-, and vapor-phase samples by infrared spectrophotometric techniques for which the amount of sample available for analysis is not a limiting factor.”  This method includes, inter alia, procedures for processing polymers (with a chart of polymer solubilities).

The method describes basic techniques for sample handling that should prove useful for any type of substance encountered on or among textile materials classifiable in Chapter 58 of the Harmonized Tariff Schedule of the United States (HTSUS).

## 1.		REFERENCE

1.1		ASTM E 1252.  “Standard Practice for General Techniques for Obtaining Infrared Spectra for Qualitative Analysis.”

END