U.S. CUSTOMS AND BORDER PROTECTION

LABORATORY METHODS

CBPL METHOD 62-05

ASTM E 1252

Standard Practice for General Techniques for

Obtaining Infrared Spectra for Qualitative Analysis

SAFETY STATEMENT

This CBPL Method cannot fully address safety issues that may arise from its use.  The analyst is responsible for assessing potential safety issues associated with a given method at its point of use.

Before using this method, the analyst will consider all general laboratory safety precautions.  In particular, the analyst will identify and implement suitable health and safety measures and will comply with all pertinent regulations.

0.		SCOPE AND FIELD OF 					APPLICATION

This practice covers the spectral range from 4000 to 50 wavenumbers and includes techniques that are useful for qualitative analysis of liquid-, solid-, and vapor-phase samples by infrared spectrophotometric techniques for which the amount of sample available for analysis in not a limiting factor.  This method includes, inter alia, procedures for processing polymers (with a chart of polymer solubilities).

This method describes basic techniques for sample handling that should prove useful for any type of substance encountered.

This method is suitable for Chapter 62 of the Harmonized Tariff Schedule of the United States (HTSUS).

## 1.		REFERENCE

1.1		ASTM E 1252.  “Standard Practice for General Techniques for Obtaining Qualitative Infrared Spectra for Qualitative Analysis.”

END