U.S. CUSTOMS AND BORDER PROTECTION

LABORATORY METHODS

CBPL METHOD 64-08

ASTM E 334

Standard Practice for General

Techniques of Infrared Microanalysis

SAFETY STATEMENT

This CBPL Method cannot fully address safety issues that may arise from its use.  The analyst is responsible for assessing potential safety issues associated with a given method at its point of use.

Before using this method, the analyst will consider all general laboratory safety precautions.  In particular, the analyst will identify and implement suitable health and safety measures and will comply with all pertinent regulations.

METHOD UNCERTAINTY

The uncertainty of measurement for this method is specific to each laboratory.

0.		SCOPE AND FIELD OF 					APPLICATION

This practice covers techniques that are of general use in securing and analyzing microgram quantities of samples by infrared (IR) spectrophotometric techniques.  This practice includes, inter alia, discussion of the use of micro cells, analysis of gas and liquid chromatography fractions, as well as the use of an IR microscope.

This practice should be useful when encountering small amounts of material that occur in mixtures of organic compounds applied to articles classified in Chapter 64 of the Harmonized Tariff Schedule of the United States (HTSUS).

1.		REFERENCE

1.1		ASTM E 334.  “Standard Practice for General Techniques of Infrared Microanalysis.”

END