U.S. CUSTOMS AND BORDER PROTECTION

LABORATORY METHODS

CBPL METHOD 64-09

ISO 9184/1-3

Paper, Board and Pulps—Fibre Furnish Analysis

SAFETY STATEMENT

This CBPL Method cannot fully address safety issues that may arise from its use.  The analyst is responsible for assessing potential safety issues associated with a given method at its point of use.

Before using this method, the analyst will consider all general laboratory safety precautions.  In particular, the analyst will identify and implement suitable health and safety measures and will comply with all pertinent regulations.

METHOD UNCERTAINTY

The uncertainty of measurement for this method is specific to each laboratory.

0.		SCOPE AND FIELD OF 					APPLICATION

This method determines the composition of the fibers used in the production of paper, paperboard, and pulp.  The sample must be conditioned before analysis can occur.

This method is suitable for the analysis of paper, paperboard, and pulp for Chapter 64 of the Harmonized Tariff Schedule of the United States (HTSUS).

# 1.		REFERENCE

1.1		ISO 9184/1-3.  “Paper, Board and Pulps—Fibre Furnish Analysis.”

END