U.S. CUSTOMS AND BORDER PROTECTION

LABORATORY METHODS

CBPL METHOD 67-01

ASTM D 5043

Standard Practice for Field Identification of Coatings

SAFETY STATEMENT

This CBPL Method cannot fully address safety issues that may arise from its use.  The analyst is responsible for assessing potential safety issues associated with a given method at its point of use.

Before using this method, the analyst will consider all general laboratory safety precautions.  In particular, the analyst will identify and implement suitable health and safety measures and will comply with all pertinent regulations.

METHOD UNCERTAINTY

The uncertainty of measurement for this method is specific to each laboratory.

0.		SCOPE AND FIELD OF 					APPLICATION

0.1		This method may be applicable to the analysis of articles classified in Chapter 67 of the Harmonized Tariff Schedule of the United States (HTSUS).

0.2		This method describes general practices and procedures for the preliminary screening-type identification of various generic coatings using different field tests.

0.3		None of the tests described herein are to be used solely for the identification of coatings.  The identification of coatings is to be determined only after additional specific tests are conducted.

0.4		This method describes pyrolysis and solubility tests (such as burning, Beilstein, odor, and flame tests) applicable in the preliminary determination of the generic identity of coatings.

0.5		This method describes procedures that can be used in general, preliminary physical, and chemical testing of appropriate materials.

1.		REFERENCE

1.1		ASTM D 5043.  “Standard Practice for Field Identification of Coatings.”

END