U.S. CUSTOMS AND BORDER PROTECTION

LABORATORY METHODS

CBPL METHOD 70-06

CBPL 72-32

Guidelines for Elemental Qualitative Analysis

by X-ray Fluorescence

# SAFETY STATEMENT

This CBPL Method cannot fully address safety issues that may arise from its use.  The analyst is responsible for assessing potential safety issues associated with a given method at its point of use.

Before using this method, the analyst will consider all general laboratory safety precautions.  In particular, the analyst will identify and implement suitable health and safety measures and will comply with all pertinent regulations.

METHOD UNCERTAINTY

The uncertainty of measurement for this method is specific to each laboratory.

0.		INTRODUCTION

Qualitative analysis is the detection and identification of the constituent elements in a sample.  X-ray emission spectrometry is extremely well suited to qualitative analysis due to the simplicity of the X-ray spectra and minimal requirements for specimen preparation.  It is convenient, rapid, often nondestructive, and applicable to major, minor, and trace constituents in any sample that can be accommodated by the instrument.

1.		SCOPE AND FIELD OF 					APPLICATION

1.1		This method describes the use of Wavelength Dispersive X-ray Fluorescence (WDXRF), Energy Dispersive X-ray Fluorescence (EDXRF), and Scanning Electron Microscope/Energy Dispersive Spectrometer (SEM/EDS) systems for elemental qualitative analysis of various materials and phases (solid, liquid, and powder).  This method is applicable to the analysis of commodities in Chapter 70 of the Harmonized Tariff Schedule of the United States (HTSUS) in order to establish identity based on elemental composition.

2.		REFERENCE

2.1		CBPL Method 72-32.  “Guidelines for Elemental Qualitative Analysis by X-ray Fluorescence.”

END