- U.S. CUSTOMS AND BORDER PROTECTION

- LABORATORY METHODS

- CBPL METHOD 70-08

Text:  Standard Methods of Chemical Analysis

Determination of Lead (PbO) and Barium (BaO):

Regular Procedure—High Pb Content

- SAFETY STATEMENT

This CBPL Method cannot fully address safety issues that may arise from its use.  The analyst is responsible for assessing potential safety issues associated with a given method at its point of use.

Before using this method, the analyst will consider all general laboratory safety precautions.  In particular, the analyst will identify and implement suitable health and safety measures and will comply with all pertinent regulations.

- METHOD UNCERTAINTY

The uncertainty of measurement for this method is specific to each laboratory.

0.		SCOPE AND FIELD OF 					APPLICATION

This method is for the quantitative determination of lead monoxide in glassware by lead sulfate precipitation.  A gravimetric factor will convert the amount of lead sulfate into lead monoxide.  Subheading Note 1 to Chapter 70 of the Harmonized Tariff Schedules of the United States (HTSUS) states that for the purposes of subheadings 7013.21, 7013.31 and 7013.91, the expression “lead crystal” means only glass having a minimum lead monoxide (PbO) content by weight of 24 percent.

This method is generally used after employing a screening method for lead monoxide, such as X-ray fluorescence, to confirm the presence of lead.

- 1.		REFERENCE

1.1		Welcher, F.J., Editor.  Standard Methods of Chemical Analysis (Sixth edition).  Volume 2, “Industrial and Natural Products and Noninstrumental Methods,” Part B.  Van Nostrand.  New Jersey.  1963.  Page 2247.

- END