U.S. CUSTOMS AND BORDER PROTECTION

LABORATORY METHODS

CBPL METHOD 72-13

ASTM E 421

Standard Test Method for Spectrographic Determination of

Silicon and Aluminum in High-Purity Iron

SAFETY STATEMENT

This CBPL Method cannot fully address safety issues that may arise from its use.  The analyst is responsible for assessing potential safety issues associated with a given method at its point of use.

Before using this method, the analyst will consider all general laboratory safety precautions.  In particular, the analyst will identify and implement suitable health and safety measures and will comply with all pertinent regulations.

METHOD UNCERTAINTY

The uncertainty of measurement for this method is specific to each laboratory.

0.		SCOPE AND FIELD OF 					APPLICATION

This method covers the spectrographic determination of silicon and aluminum in high-purity iron.  This is one method that can be used to determine the silicon and aluminum content of high-purity iron provided for in Chapter 72 of the Harmonized Tariff Schedule of the United States (HTSUS).

1.		REFERENCE

1.1		ASTM E 421.  “Standard Test Method for Spectrographic Determination of Silicon and Aluminum in High-Purity Iron.”

END