U.S. CUSTOMS AND BORDER PROTECTION

LABORATORY METHODS

CBPL METHOD 72-16

ASTM E 1086

Standard Test Method for Optical Emission

Vacuum Spectrometric Analysis of Stainless Steel

by the Point-to-Plane Excitation Technique

SAFETY STATEMENT

This CBPL Method cannot fully address safety issues that may arise from its use.  The analyst is responsible for assessing potential safety issues associated with a given method at its point of use.

Before using this method, the analyst will consider all general laboratory safety precautions.  In particular, the analyst will identify and implement suitable health and safety measures and will comply with all pertinent regulations.

METHOD UNCERTAINTY

The uncertainty of measurement for this method is specific to each laboratory.

0.		SCOPE AND FIELD OF 					APPLICATION

This method provides for optical emission vacuum spectrometric analysis of stainless steel in solid forms that have a flat surface of at least 13 mm (0.5 in.) by the point-to-plane excitation technique.  It is one method that can be used for the determination of the composition of stainless steel and articles thereof provided for in Chapter 72 of the Harmonized Tariff Schedule of the United  States (HTSUS).

1.		REFERENCE

1.1		ASTM E 1086.  “Standard Test Method for Optical Emission Vacuum Spectrometric Analysis of Stainless Steel by the Point-to-Plane Excitation Technique.”

END