U.S. CUSTOMS LABORATORY METHODS

USCL METHOD 72-22

# ASTM E 3-95

##### Standard Practice for Preparation of Metallographic Specimens

SAFETY PRECAUTIONS

This method does not purport to address all of the safety problems, if any, associated with its use.  It is the responsibility of the user of this method to establish appropriate safety and health practices and determine the applicability of regulatory limitations prior to its use.

0.	SCOPE AND FIELD OF APPLICATION

This method outlines various procedures for the preparation of metallographic specimens.  These procedures can be used in the analysis of iron or steel in Chapter 72 of the Harmonized Tariff Schedule of the United States (HTSUS) to determine heat treatment, whether hot or cold formed, clad, plated, and whether or not ductile or malleable cast iron.

1.	REFERENCES

ASTM E 3-95.   “Standard Practice for Preparation of Metallographic Specimens.”

END