U.S. CUSTOMS AND BORDER PROTECTION

LABORATORY METHODS

CBPL Method 72-29

ASTM E 542

Standard Practice for Calibration of

Laboratory Volumetric Apparatus

SAFETY STATEMENT

This CBPL Method cannot fully address safety issues that may arise from its use.  The analyst is responsible for assessing potential safety issues associated with a given method at its point of use.

Before using this method, the analyst will consider all general laboratory safety precautions.  In particular, the analyst will identify and implement suitable health and safety measures and will comply with all pertinent regulations.

METHOD UNCERTAINTY

The uncertainty of measurement for this method is specific to each laboratory.

0.		SCOPE AND FIELD OF 					APPLICATION

These procedures cover the calibration of laboratory volumetric ware, such as burets, graduated cylinders, volumetric flasks, specific gravity flasks, and pipets at the standard temperature of 20 °C.  These procedures are applicable to Chapter 72 of the Harmonized Tariff Schedule of the United States (HTSUS), where the CBPL

Methods require accurate calibration of volumetric ware.

1.		REFERENCE

1.1		ASTM E 542.  “Standard Practice for Calibration of Laboratory Volumetric Apparatus.”

END