U.S. CUSTOMS AND BORDER PROTECTION

LABORATORY METHODS

CBPL Method 72-30

ASTM E 1621

Standard Guide for X-ray Emission Spectrometric Analysis

SAFETY STATEMENT

This CBPL Method cannot fully address safety issues that may arise from its use.  The analyst is responsible for assessing potential safety issues associated with a given method at its point of use.

Before using this method, the analyst will consider all general laboratory safety precautions.  In particular, the analyst will identify and implement suitable health and safety measures and will comply with all pertinent regulations.

METHOD UNCERTAINTY

The uncertainty of measurement for this method is specific to each laboratory.

0.		SCOPE AND FIELD OF 					APPLICATION

This is a guideline for wavelength-dispersive X-ray spectrometry.  It describes terminology, interferences, apparatus, reagents and materials, preparation of reference materials and test specimens, calibration and standardization, and excitation voltage.  This is applicable to Chapter 72 of the Harmonized Tariff Schedule of the United States (HTSUS), where elemental analysis is required either qualitatively or quantitatively.

1.		REFERENCE

1.1		ASTM E 1621.  “Standard Guide for X-ray Emission Spectrometric Analysis.”

END