U.S. CUSTOMS AND BORDER PROTECTION

LABORATORY METHODS

CBPL METHOD 73-01

ASTM E 1063-94

Standard Test Method for X-ray Emission

Spectrometric Determination of Cerium

and Lanthanum in Carbon and Low-Alloy Steel

SAFETY STATEMENT

This CBPL Method cannot fully address safety issues that may arise from its use.  The analyst is responsible for assessing potential safety issues associated with a given method at its point of use.

Before using this method, the analyst will consider all general laboratory safety precautions.  In particular, the analyst will identify and implement suitable health and safety measures and will comply with all pertinent regulations.

METHOD UNCERTAINTY

The uncertainty of measurement for this method is specific to each laboratory.

0.		SCOPE AND FIELD OF 					APPLICATION

This method provides for the X-ray emission spectrometric analysis of cerium and lanthanum in carbon and low-alloy steels. It may prove useful in the analysis of steel and cast iron products provided for in the Chapter 73 of the Harmonized Tariff Schedule of the United States (HTSUS).  This is one of the methods that can be used to determine cerium and lanthanum in carbon and low-alloy steels and cast iron products.

1.		REFERENCE

1.1		ASTM E 1063.  “Standard Test Method for X-ray Emission Spectrometric Determination of Cerium and Lanthanum in Carbon and Low-Alloy Steel.”

END