U.S. CUSTOMS AND BORDER PROTECTION

LABORATORY METHODS

CBPL Method 78-03

ASTM E 57

Standard Methods for Chemical Analysis

of White Metal Bearing Alloys

SAFETY STATEMENT

This CBPL Method cannot fully address safety issues that may arise from its use.  The analyst is responsible for assessing potential safety issues associated with a given method at its point of use.

Before using this method, the analyst will consider all general laboratory safety precautions.  In particular, the analyst will identify and implement suitable health and safety measures and will comply with all pertinent regulations.

METHOD UNCERTAINTY

The uncertainty of measurement for this method is specific to each laboratory.

0.		SCOPE AND FIELD OF 					APPLICATION

This procedure (ASTM E 57, Sections 24 to 27) covers the chemical analysis of lead, having composition of 0.1 to 95%.  This method is applicable to Chapter 78 of the Harmonized Tariff Schedule of the United States (HTSUS).

1.		REFERENCE

1.1		ASTM E 57.  “Standard Methods for Chemical Analysis of White Metal Bearing Alloys.”

END